## COVER
NATIONAL AGENCY FOR THE CONTROL OF AIDS (NACA) WITH FUNDING FROM GLOBAL FUND
RENOVATION AND UPGRADE OF SELECTED PUBLIC HEALTH LABORATORIES IN THE SIX GEOPOLITICAL ZONES IN NIGERIA AND THE NATIONAL EXTERNAL QUALITY ASSESSMENT LABORATORY (NEQAL) UNDER THE GLOBAL FUND RESILIENT & SUSTAINABLE SYSTEMS FOR HEALTH [RSSH] II PROJECT GRANT
LOT 3
PROPOSED EXPANSION/MODIFICATION OF EXISTING PCR LABORATORY CHUKWUEMEKA ODUMEGWU OJUKWU UNIVERSITY TEACHING HOSPITAL AMAKU AWKA, ANAMBRA STATE
BILL OF QUANTITIES
JANUARY. 2022

## PRELIMINARIES
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (N:K)
BILL No 1: PRELIMINARIES
A | Drawings
B | Setting Out
C | Site accomodation for contractor/Storage
D | Water for works
E | Watching and Lighting
F | Security for the works
G | Welfare and Safety
H | First Aid Box
J | Scaffolding
K | Progress Photographs
L | Records
M | Foreman on Site
N | Sign and notice Board
O | Protection for the Works
P | Plant, tools and equipment
Q | Site accomodation for employer representative
R | Clearing / Cleaning
S | Contract Administration
BILL NO 1: PRELIMINARIES CARRIED TO
| GENERAL SUMMARY-: |  |  |  | 0

## LABORATORY
BILL OF QUANTITIES FOR THE PROPOSED EXPANSION/MODIFICATION OF EXISTING PCR LABS AT LABORATORY -CHUKWUEMEKA ODUMEGWU OJUKWU UNIVERSITY TEACHING HOSPITAL AMAKU AWKA
DEMOLITION AND ALTERATION WORKS
C90: ALTERATIONS-SPOT ITEMS
(All provisional)
Wall
A | Demolish 225mm thick hollow block wall to allow for expansion | 100 | Sq.m | 0
B | Carefully cut open 225mm thick reinforced concrete wall
for the provision of windows, doors and expansion
| Approximately 50m3 | 50 | Cu.m | 0
C | Carefully cut 225mm thick wall to creat doors as may be directed | 50 | Sq.m | 0
D | Hack out 13mm thick weak rendering on walls/crack lines
| Approximately 100m2 and remove debris from site | 100 | Sq.m | 0
E | Scrape off paeled painting on surfaces of rendered walls | 100 | Sq.m | 0
Ceiling
F | Remove existing but damaged/nonstandard ceiling finishing
complete with weak/damaged noggins Approximately 52m2
| Keep safe materials on site | 52 | Sq.m | 0
Floor
G | Hack - off existing but damaged floor tiles complete with
| asoociated screeding and remove debris from site | 56 | Sq.m | 0
Doors.
H | Carefully Un-fix sub-standard flush/metal door complete with frame to allow for new works in opening (approximately 10Nr) | 10 | Nr. | 0
J | Allow a sum for making good all disturbed finishings
| during demolition |  | item | 0
K | Carefully unfix existing worktops tops complete with drawers and other compactments to allow for reconstruction as may be directed by the supervisor |  | item | 0
| To Collection |  |  | 0
Mechanical Fittings
A | Carefully remove damaged and substandard basin and other taps | 20 | Nr. | 0
B | Carefully remove existing but damaged flexible connector | 20 | Nr. | 0
C | Carefully remove damaged Water closet complete | 20 | Nr. | 0
D | Carefully remove damaged wash hand basin complete | 20 | Nr. | 0
E | Allow a provisional sum of N30,000.00 for complete removal of damaged and substandard supply and waste pipes and replace as may be directed (else where measured) |  | item | 0
F | Carefully uninstall eixsting but damaged/faulty A/Cs of various sizes to allow for new installations/repairs
| Keep safe materials on site | 35 | Nr. | 0
Electrical Fittings
G | Carefully remove damaged ceiling mounted lighting
| fittings complete | 100 | Nr. | 0
H | Carefully remove existing wall mounted lighting
| fittings complete | 100 | Nr. | 0
J | Carefully remove damaged wall mounted
| security lighting fittings | 100 | Nr. | 0
K | Carefully remove damaged sockets of various sizes | 100 | Nr. | 0
| To Collection:- |  |  | 0
COLLECTION
| Page 1 |  |  | 0
| Page 2 |  |  | 0
DEMOLITION AND ALTERATION WORKS
| carried to summary |  |  | 0
WINDOWS
L10: WINDOWS/ROOFLIGHTS/SCREENS/LOUVRES
Chartered Aluminium' or other equal approved
Colour; powder coated extruded standard gauge
aluminium FIXED windows, factory glazed with 5mm thick
plain glass; to Architect specification; complete with all
accessories and ironmongery including pinning,
lugging and bedding in cement mortar (1:6) to concrete
or blockwork
Fixed glass, double glazed glass windows and frames
A | Size 1800 X 1200mm high | 20 | Nr | 0
0
B | Size 900 X 900mm high | 12 | Nr | 0 | 32400
0
C | Size 1200 X 600mm high | 5 | Nr | 0
BURGULAR PROOF
16mm wrot iron bars welded at joint according
to Architect's instruction horizontally at 150mm centres
and vertical at 300mm centres, including pinning, lugging
and bedding in block work or concrete work
D | Size 1800 X 1200mm high | 20 | Nr | 0 | 10800
E | Size 900 X 900mm high | 12 | Nr | 0
F | Size 1200 X 600mm high | 5 | Nr | 0
| WINDOWS |  |  | 0
carried to summary
DOORS
DOORS/SHUTTERS/HATCHES
STEEL
40mm thick timber rebated polished HDF non-absorbent
Flush door,with 50 x 12mm hardwood timber sub-frame
including ironmongery, kick plates, push plates and
overhead door closer; and 3no Hinges for rebated door;
and architraves complying to Architect's details. All door
finish should be scratch-proof, non-absorbent and rubber
gasket sealed. Complete with all assesories
Door size
A | 1200 x 2050mm high | 5 | Nr. | 0
0
B | 900 x 2050mm high | 12 | Nr. | 0
0
C | Supply and install approved authomatic door closer | 4 | Nr. | 0
D | Allow for the supply and installation of ACCESS CONTROL
| complete with all accessories | 4 | Nr. | 0
E | Hatches | 2 | Nr. | 0
F | Foreign Iron door-single | 2 | Nr. | 0
| DOORS CARRIED TO SUMMARY |  |  | 0
FITTINGS AND FIXTURES
A | workbenches, wall shelves finished with epoxy, acrylic or seamless granite top finish to Architects design and specifications. Construction of laboratory work bench counter size:7500 (subject to available space) x 750 x 900mm(H) in L shape or other appropriate shape complete with one-piece 20mm thick white polished synthetic marble/Glossy finish Acrylic slab fixed seamless and jointless with appropriate wall cover and splash back, on appropriate 3'' square pipe skeleton, sand blasted and painted against corrosion bolted to floor: with under counter storage cabinet and all exposed surfaces made with white laminate plywood with provision of 1200mm leg spaces and 2 nos embedded double-deep BELFAST ceramic laboratory sink (1no hand wash sink with elbow operated tap and 1 No. Eye wash station) connected to waste system in laboratory counter label clean and dirty area | 1 | Nr | 0
B | Supply standard adjustable height laboratory stools with backrest covered with non-absorbent non-synthetic material | 10 | Nr | 0
C | Allow a Provisional Sum of N400,000.00 for store shelves to
| Architects design and specifications |  | sum | 0
N FURNITURE/EQUIPMENT
| Carried to Summary |  |  | 0
WALL FINISHING
INTERNALLY
M20: PLASTERED/RENDERED/ROUGHCAST
COATINGS
15mm thick cement and sand (1:3) floated smooth synthetic
rendering to general surfaces complying to Architect's details.
High quality Meyer emulsion paint in 2 coats to floated
surfaces, rate including floating to Architect's details.
Walls
A | Width > 300mm
| 13mm thick | 235 | Sq.m | 0
Cracks
B | Allow for the general maintenance of cracks on wall |  | Sum | 0
M60: PAINTING/CLEAR FINISHINGS
15mm thick cement and sand (1:3) floated smooth synthetic
rendering to general surfaces complying to Architect's details.
High quality Meyer or approved equal emulsion paint in 2 coats to floated
surfaces, rate including floating to Architect's details.
General Surfaces
C | Girth > 300mm | 700 | Sq.m | 0
EXTERNALLY
M60: PAINTING/CLEAR FINISHINGS
Prepare and apply one undercoat and two finishing coat
of Berger paint or other equal and approved high quality
emulsion paint on rendered wall.
General Surfaces
D | Girth > 300mm | 2301 | Sq.m | 0
E | Width < 300mm | 443 | Lin.m | 0
WALL FINISHING
| CARRIED TO SUMMARY;- |  |  | 0
FLOOR FINISH
M10: CEMENT: SAND/CONCRETE SCREEDS/TOPPINGS
Cement and sand (1:4) screeded bed 40mm thick to receive
floor tilling
Floors
A | Levels or to falls only < 150 from horizontal | 145 | Sq.m | 0
M40: STONE/CONCRETE/QUARRY/CERAMIC
TILING/MOSAIC
| Epoxy Floor Finish |  |  | 0
B | Blinding steel surface 50 thick | 43 | Sq.m | 0
General floor surface preparation
C | Surface Preparation; Floor shall be acid washed, so that all
contermination in the floor is completely cleaned and ready
| for to receive epoxy finishes. | 145 | Sq.m | 0
Epoxy Finish
Apply Epoxy Primer Nitoprime 25, manufactured by Fosroc,
applied on a prepared surface and antislip grains spread over
the same to ensure mechanical key with the subsequent
epoxy treatment. Nitoflor TF 5000, chemical and abrasion
resistant epoxy floor screed, manufactured by Fosroc,
shall then be laid by skill workers @ 3mm thickness on the
Primer Nitoprime 25 as per manufacturer's specification.
The screed shall have a conpressive strength of
85N / sqmm and Flexural strength of 28 N / sqmm
Nitroflor TF 5000 is resistant to Acids, Alkalis, Solvents &
Organics and Aqueous solutions. The screed shall thereafter be
sealed with Nitoflor SL2000, chemical & abrasion resistant
epoxy floor topping manufactured by Fosroc. Nitoflor SL2000
shall be trowel finished to give a smooth finish with 5mm overall
thickness.
D | Epoxy flooring system Internally | 145 | Sq.m | 0
FLOOR FINISHINGS
| CARRIED TO SUMMARY;- |  |  | 0
CEILING FINISHINGS
INTERNAL / EXTERNAL
M20 PLASTERED/RENDERED/ROUGHCAST
COATINGS
M31: FIBROUS PLASTER
In situ cast plaster of paris suspended ceiling slabs cast to
Architect's design including all necessary accessories and
fixing to sofit of concrete roof slab or hardwood noggings(m/s)
Ceiling
A | Width > 300mm
5mm thick
| pannelled slab | 645 | Sq.m | 0
Prepare, prime and apply one undercoat and two finishing
coats of Satin paint of Mayer, Berger or other equal and
approved to soffit of ceiling
Ceiling soffit
B | Width > 300mm | 645 | Sq.m | 0
CEILING FINISHINGS
| carried to summary |  |  | 0
PLUMBING/MECHANICAL INSTALLATION
Fittings, equipment and appliances associated
with services.
COLD WATER SUPPLY PIPES, GALVANISED iron pipe
to BS 425
0
Allow for complete replacement of existing but damaged
A | supply/waste piping with appropriate UPVC pressure pipe |  |  | 0
| to be executed complete, including making good all other |  | Sum | 0
faults sanitary appliances as may be directed
| Supply and install Sensor tap to WHB and Sink complete with all | 7 | Nr | 0
B | accessories
FIRE FIGHTING SYSTEM /DETECTORS
| Suplly and fix in place DCP ABC - 9Kg Fire Extinguisher | 15 | Nr | 0
C | Allow the provision of N1,350,000.00 for the construction of 6m high steel overhead tank complete with 1Nr 3000Litres GP tank |  | Sum | 0
SANITARY APPLIANCES/FITTINGS
| CARRIED TO SUMMARY;- |  |  | 0
AIR-CONDITIONING & VENTILATION
Supply, install and commision the fllowing Air-conditioning
equipments
A | 1.5HP, 12,000btu/Hr Split Air conditioning unit complete | 5 | Nr | 0
B | 1.00HP, 9,000btu/Hr Split Air conditioning unit complete
C | Allow for A/C steel hanger for AC outdoor units | 5 | Nr | 0
0
D | Equipment; Supply and Installation of Xplepair or approved equal Unidirectional Flow Ducted Unit Extractor Fan complete with sealant and necessary installation accessories. | 4 | Units | 0
AIR-CONDITIONING & VENTILATION
| CARRIED TO SUMMARY;- |  |  | 0
ELECTRICAL INSTALLATIONS
V20: LV Distribution
Equipment; Metal clad Main Distrbution Board surface/ flush
type as manufacured by ABB or approved equal including all
MCB, back outlet connections to flush adaptable boxes, earth
bonding, labels and fixing in accordance with manufacturer's
instructions
A | 100A 8-Way TP&N MCB Distribution Board complete with
100A integral incoming isolator and comprising 3nr 10A
stablock; 4nr 5A stablock; 5nr 30A stablock and 11nr 20A
| stablock | 1 | nr | 0
Equipment; Metal clad ELCB Board surface/ flush type as
manufacured by ABB or approved equal including all MCB,
back outlet connections to flush adaptable boxes, earth
bonding, labels and fixing in accordance with manufacturer's
instructions
B | 63A TP&N ELCB | 1 | No | 0
C | Meter - cut -out fuses | 4 | No | 0
V21: General lighting
LED lighting, ceiling recessed and mounyed with sealed edges
Mounted on POP finished ceiling. Cost to include making good
disturbed surfaces.
D | LED lighting ceiling
| 45w | 101 | nr | 0
0
E | 15w | 20 | nr | 0
0
A | 8x60w satin blow glass baloon lighting fitting |  | nr
B | 1x75w pendant fitting in satin glass and frosted ceiling cup
| lighting fitting | 20 | nr
C | Ceiling mount fitting in die cast Aluminium reflector lamp type:
| 1x60w incandescent lighting fitting | 20 | nr
D | Pressed metal white varnish ceiling fitting lamp, 1 x 60w |  | nr
E | 1500mm sweep decorative ceiling fan complete with regulator
| 5-Speed regulator | 4 | nr
V22: General LV Power
Final Circuit; PVC insulated and colour coded copper cable
drawn into 20 diamter concealed UPVC conduit; rates to
include for all cables and conduits for switches, sockets and
other accessories for complete installation
Cables and Conduits in final circuits
F | 13A 1 Gang double pole white moulded socket outlet flush to
| BS 1363: PART:2:1995 MK or approved equal |  | nr
G | 13A 2 Gang double pole white moulded socket outlet flush to
| BS 1363: PART:2:1995 MK or approved equal |  | nr
H | 20A 3 Pin 1 Gang switched socket outlet flush to BS S46:7950 |  | nr
MK or approved equal
F | 15A 3 Pin 1 Gang double pole white moulded socket outlet
| flush to BS 1363: PART:2:1995 MK or approved equal | 12 | nr | 0
G | Allow for installation of cabling of all sizes where necessary as may be directed by supervisor |  |  | 0
| ELECTRICAL INSTALLATION |  |  | 0
CARRIED TO SUMMARY;-
V33: SOLAR POWER INSTALLATION
A | 6V 600 AH Batteries | 16 | Nr | 0
B | 320 Watt solar panels | 32 | Nr | 0
C | 20 KVA 48V Inverter | 1 | Nr | 0
D | 200A MPPT charge controller | 2 | Nr | 0
E | Twisted solar cables | 3 | Nr | 0
F | Hanger for Batteries | 1 | item | 0
G | Hanger for Panels (free standing) | 1 | item | 0
H | Programming and installation charge |  | Sum | 0
| SOLAR POWER INSTALLATION CARRIED TO SUMMARY |  |  | 0
SUMMARY
A | DEMOLITION WORK |  |  | 0
B | WINDOWS |  |  | 0
C | DOORS |  |  | 0
D | WALL FINISHINGS |  |  | 0
E | WORKBENCH & FURNITURE |  |  | 0
F | FLOOR FINISHINGS |  |  | 0
G | CEILING FINISHINGS |  |  | 0
H | SANITARY APPLIANCES/FITTINGS |  |  | 0
J | AIR-CONDITIONING & VENTILATION |  |  | 0
K | ELECTRICAL INSTALLATION |  |  | 0
L | SOLAR BACK-UP INSTALLATION |  |  | 0
PCR LABORATORY
| TO GENERAL SUMMARY- |  |  | 0
Note on C371: Joachim: reduced from 6000

## SUMMARY
BILL OF QUANTITIES FOR THE PROPOSED EXPANSION/MODIFICATION OF EXISTING PCR LABS AT LABORATORY -CHUKWUEMEKA ODUMEGWU OJUKWU UNIVERSITY TEACHING HOSPITAL AMAKU AWKA
GENERAL SUMMARY
S/No. | Name | No. of Units | Amount (NGN) | Total Amount (NGN)
1 | Preliminaries and General Works | 1 | 0 | 0
2 | BOQ Laboratory Upgrade | 1 | 0 | 0
Total |  |  |  | 0
TOTAL COST OF REXPANSION/MODIFICATION WORKS |  |  |  | 0